Communications Status Report for

Areas Impacted by Super Typhoon Bavi

July 23, 2026

This report provides information on the status of communications services in geographic areas impacted by Super Typhoon Bavi, reported as of 6:00 a.m. EDT / 8:00 p.m. Chamorro Standard Time (ChST) on July 23, 2026.  This report incorporates network outage data submitted by communications providers to the Federal Communications Commission’s (FCC) Disaster Information Reporting System (DIRS).  We note that the operational status of communications services may evolve rapidly during a disaster.  The FCC will provide daily updates to this report until DIRS data collection is deactivated for the region.

The following municipalities are in the current geographic area that is part of the DIRS activation area (the “disaster area”) for today’s report.

COMMONWEALTH OF THE NORTHERN MARIANA ISLANDS: Rota, Saipan, and Tinian

911 Services

The FCC’s Public Safety and Homeland Security Bureau learns about the status of communications services provided to each Public Safety Answering Point (PSAP) through the filings of 911 Service Providers in DIRS, reporting to the FCC’s Public Safety Support Center, in coordination with state and territory 911 Administrators, and, if necessary, direct contact with individual PSAPs.

- There are no PSAPs reported in DIRS as being affected.

Wireless Services

The following section describes the status of wireless communications services in the disaster area as reported in DIRS.

The following table provides cell sites out of service by island.  9.7% (down from 10.8% yesterday) of the cell sites in the affected area is out of service.  The information shown was provided by communications carriers providing services in the CNMI.

Commonwealth of the Northern Mariana Islands

| State | Affected Municipalities | Cell Sites Served | Cell Sites Out | Percent Out | Cell Sites Out Due to Damage | Cell Sites Out Due to Transport | Cell Sites Out Due to Power | Cell Sites Up but On Back-up Power |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CNMI | ROTA | 11 | 7 | 63.6% | 2 | 6 | 7 | 1 |
| CNMI | SAIPAN | 73 | 1 | 1.4% | 0 | 0 | 1 | 10 |
| CNMI | TINIAN | 9 | 1 | 11.1% | 0 | 0 | 1 | 1 |
| TOTAL | - | 93 | 9 | 9.7% | 2 | 6 | 9 | 12 |

Please note: some cell site outages may be the result of multiple causes.

The number of cell site outages in a specific area does not necessarily correspond to the availability of wireless service to consumers in that area.  Wireless networks are often designed with numerous, overlapping cell sites that provide maximum capacity and continuity of service even when an individual site is inoperable.  In addition, wireless providers frequently use temporary facilities, such as cells-on-wheels (also known as COWs), will increase power at operational sites, will initiate roaming agreements, or take other actions to maintain service to affected consumers during emergencies or other events that result in cell site outages.

Broadcast

# Television Station Status:

- The FCC has not received any reports in DIRS on the status of TV stations.

# FM Radio station status:

- The FCC has not received any reports in DIRS on the status of FM stations.

# AM Radio station status:

- The FCC has not received any reports in DIRS on the status of AM stations.

Mandatory Disaster Response Initiative

The Mandatory Disaster Response Initiative was activated for Super Typhoon Bavi response activities on July 6, 2026.  As a reminder, all facilities-based mobile wireless providers operating in the above-referenced areas are hereby notified and required to: (1) provide for reasonable roaming under disaster arrangements when technically feasible; (2) activate mutual aid arrangements with other facilities-based mobile wireless providers for providing aid upon request to those providers during emergencies; (3) take reasonable measures to enhance municipal preparedness and restoration; (4) take reasonable measures to increase consumer readiness and preparation; and (5) take reasonable measures to improve public awareness and stakeholder communications on service and restoration status.

Special Temporary Authority (STA)/Waivers/Extensions

The FCC may grant Special Temporary Authority (STA) to permit immediate or temporary operation of certain radio facilities during emergencies or other urgent conditions, as well as waivers to support emergency communications and service restoration.

- On July 2, 2026, the FCC Space Bureau granted a Special Temporary Authority to Space Exploration Holdings, LLC (SpaceX) to provide emergency Supplemental Coverage from Space service to Docomo Pacific, LLC in areas of Guam and the Commonwealth of the Northern Mariana Islands affected by Super Typhoon Bavi.

- On July 8, 2026, the Wireline Competition Bureau waived certain Lifeline, E-Rate, Rural Health Care, and Contributions rules and deadlines to assist participants and service providers, including Universal Service Fund contributors, located in the areas affected by Super Typhoon Bavi and its immediate aftermath.

See Improving the Resiliency of Mobile Wireless Communications Networks, Order, 31 FCC Rcd 13745, para. 10 (2016) (recognizing the difficulties in accurately depicting the ongoing status of a wireless provider’s service during emergencies).

See 47 CFR § 4.17(a)(3)(i) (detailing criteria for activating roaming under disaster arrangements).

See 47 CFR § 4.17(a)(3)(ii) (explaining what mutual aid arrangements must include).

47 CFR § 4.17(a)(3)(i)-(v); see also FCC, Wireless Network Resiliency During Disasters (June 4, 2024), https://www.fcc.gov/wireless-network-resiliency-during-disasters.